Main changes in the 2014 edition of Approved Document M

The draft new 2014 edition of Approved Document M ‘Access to and use of Buildings’ - dwellings’ is intended to replace the current 2004 edition (incorporating 2010 and 2013 amendments).

Approved Document M will be split into two parts;

Volume 1: Dwellings, and

Volume 2: Buildings other than dwellings.

The changes only affect those parts of the Regulations within Part M that apply to new dwellings. They are as follows:

a. 	Regulation M4 ‘Sanitary conveniences in dwellings’ has been replaced by a new Regulation M4 ‘Access to and use of dwellings’; and

b. 	The following sections of guidance in Approved Document M ‘Access to and use of buildings’ will be deleted:

Section 6: Means of access to and into the dwelling

Section 7: Circulation within the entrance storey of the dwelling

Section 8: Accessible switches and sockets in the dwelling-10

Section 9: Passenger lifts and common stairs in blocks of flats

Section 10: WC provision in the entrance storey of the dwelling.

Regulation M4 will differ from other regulations by containing two sets of ‘Optional Requirements’ that are alternatives to a mandatory baseline Requirement.

Only one Requirement will apply to any given dwelling.

M4(1) Category 1 - 	Visitable dwellings – mandatory baseline.

dwellings that can, as a minimum, be visited by a wide range of people, including some wheelchair users

M4(2) Category 2 - 	Accessible and adaptable dwellings – optional alternative to visitable dwellings

dwellings that provide a higher level of accessibility that is beneficial to a wide range of people who occupy or visit the dwelling, and provides particular benefit to older and disabled people, including some wheelchair users

M4(3) Category 3 - 	Wheelchair user dwellings – optional alternative to visitable dwellings

dwellings that are suitable, or potentially suitable through adaptation, to be occupied by wheelchair users